## 报告
报告：成功合并 18 个工作表，共 141 行数据。
工作簿 | 工作表 | 合并状态 | 合并后的位置
question1_guzhangcishu_countA大队 (Fire brigade A).xlsx | Sheet1 | 成功 | 总表!B1:C8
question1_guzhangcishu_countB大队 (Fire brigade B).xlsx | Sheet1 | 成功 | 总表!B9:C17
question1_guzhangcishu_countC大队 (Fire brigade C).xlsx | Sheet1 | 成功 | 总表!B18:C25
question1_guzhangcishu_countD大队 (Fire brigade D).xlsx | Sheet1 | 成功 | 总表!B26:C32
question1_guzhangcishu_countE大队 (Fire brigade E).xlsx | Sheet1 | 成功 | 总表!B33:C39
question1_guzhangcishu_countF大队 (Fire brigade F).xlsx | Sheet1 | 成功 | 总表!B40:C47
question1_guzhangcishu_countG大队 (Fire brigade G).xlsx | Sheet1 | 成功 | 总表!B48:C55
question1_guzhangcishu_countH大队 (Fire brigade H).xlsx | Sheet1 | 成功 | 总表!B56:C62
question1_guzhangcishu_countI大队 (Fire brigade I).xlsx | Sheet1 | 成功 | 总表!B63:C70
question1_guzhangcishu_countJ大队 (Fire brigade J).xlsx | Sheet1 | 成功 | 总表!B71:C79
question1_guzhangcishu_countK大队 (Fire brigade K).xlsx | Sheet1 | 成功 | 总表!B80:C87
question1_guzhangcishu_countL大队 (Fire brigade L).xlsx | Sheet1 | 成功 | 总表!B88:C95
question1_guzhangcishu_countM大队 (Fire brigade M).xlsx | Sheet1 | 成功 | 总表!B96:C103
question1_guzhangcishu_countN大队 (Fire brigade N).xlsx | Sheet1 | 成功 | 总表!B104:C111
question1_guzhangcishu_countO大队 (Fire brigade O).xlsx | Sheet1 | 成功 | 总表!B112:C118
question1_guzhangcishu_countP大队 (Fire brigade P).xlsx | Sheet1 | 成功 | 总表!B119:C127
question1_guzhangcishu_countQ大队 (Fire brigade Q).xlsx | Sheet1 | 成功 | 总表!B128:C134
question1_guzhangcishu_countR大队 (Fire brigade R).xlsx | Sheet1 | 成功 | 总表!B135:C141

## 总表
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 压力开关 (Pressure switch) | 19
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 复合探测器 (Multiple-sensor) | 123
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 手动报警按钮 (Manual call point) | 684
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 3760
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 消火栓 (Hydrant) | 441
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 点型感温探测器 (Point temperature detector) | 2108
[question1_guzhangcishu_countA大队 (Fire brigade A)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 5425
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 压力开关 (Pressure switch) | 734
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 复合探测器 (Multiple-sensor) | 23
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 手动报警按钮 (Manual call point) | 9286
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 33662
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 消火栓 (Hydrant) | 1196
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 点型感温探测器 (Point temperature detector) | 739
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 34700
[question1_guzhangcishu_countB大队 (Fire brigade B)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 362
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 压力开关 (Pressure switch) | 99
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 手动报警按钮 (Manual call point) | 29534
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 1477
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 消火栓 (Hydrant) | 46735
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 点型感温探测器 (Point temperature detector) | 9333
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 153698
[question1_guzhangcishu_countC大队 (Fire brigade C)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 698
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 压力开关 (Pressure switch) | 40
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 手动报警按钮 (Manual call point) | 5971
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 473
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 消火栓 (Hydrant) | 2433
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 点型感温探测器 (Point temperature detector) | 210
[question1_guzhangcishu_countD大队 (Fire brigade D)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 34997
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 压力开关 (Pressure switch) | 23
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 手动报警按钮 (Manual call point) | 753
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 4343
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 消火栓 (Hydrant) | 228
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 点型感温探测器 (Point temperature detector) | 1815
[question1_guzhangcishu_countE大队 (Fire brigade E)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 6427
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 压力开关 (Pressure switch) | 201
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 复合探测器 (Multiple-sensor) | 6
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 手动报警按钮 (Manual call point) | 3137
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 1
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 消火栓 (Hydrant) | 14867
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 点型感温探测器 (Point temperature detector) | 34059
[question1_guzhangcishu_countF大队 (Fire brigade F)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 56220
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 压力开关 (Pressure switch) | 2818
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 手动报警按钮 (Manual call point) | 38819
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 62332
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 消火栓 (Hydrant) | 23652
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 点型感温探测器 (Point temperature detector) | 11107
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 209836
[question1_guzhangcishu_countG大队 (Fire brigade G)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 65
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 压力开关 (Pressure switch) | 176
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 手动报警按钮 (Manual call point) | 7941
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 2244
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 消火栓 (Hydrant) | 7663
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 点型感温探测器 (Point temperature detector) | 10994
[question1_guzhangcishu_countH大队 (Fire brigade H)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 173806
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 压力开关 (Pressure switch) | 1
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 手动报警按钮 (Manual call point) | 909
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 577
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 消火栓 (Hydrant) | 289
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 火焰探测器 (Flame detector) | 1
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 点型感温探测器 (Point temperature detector) | 205
[question1_guzhangcishu_countI大队 (Fire brigade I)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 5324
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 压力开关 (Pressure switch) | 75
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 复合探测器 (Multiple-sensor) | 1418
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 手动报警按钮 (Manual call point) | 31019
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 387666
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 消火栓 (Hydrant) | 4109
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 点型感温探测器 (Point temperature detector) | 37164
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 56944
[question1_guzhangcishu_countJ大队 (Fire brigade J)]Sheet1 | 点型点烟 (Point type smoke) | 2
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 压力开关 (Pressure switch) | 65
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 手动报警按钮 (Manual call point) | 1987
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 9284
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 消火栓 (Hydrant) | 382
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 点型感温探测器 (Point temperature detector) | 1963
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 4087
[question1_guzhangcishu_countK大队 (Fire brigade K)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 21
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 压力开关 (Pressure switch) | 1924
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 手动报警按钮 (Manual call point) | 1394
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 7286
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 消火栓 (Hydrant) | 607
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 点型感温探测器 (Point temperature detector) | 61614
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 20803
[question1_guzhangcishu_countL大队 (Fire brigade L)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 2
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 压力开关 (Pressure switch) | 949
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 手动报警按钮 (Manual call point) | 56111
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 38159
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 消火栓 (Hydrant) | 31857
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 点型感温探测器 (Point temperature detector) | 49138
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 301328
[question1_guzhangcishu_countM大队 (Fire brigade M)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 1085
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 压力开关 (Pressure switch) | 85
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 复合探测器 (Multiple-sensor) | 2
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 手动报警按钮 (Manual call point) | 10476
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 12157
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 消火栓 (Hydrant) | 15144
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 点型感温探测器 (Point temperature detector) | 3318
[question1_guzhangcishu_countN大队 (Fire brigade N)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 192231
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 压力开关 (Pressure switch) | 3
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 手动报警按钮 (Manual call point) | 2915
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 215
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 消火栓 (Hydrant) | 346
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 点型感温探测器 (Point temperature detector) | 107
[question1_guzhangcishu_countO大队 (Fire brigade O)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 5420
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 压力开关 (Pressure switch) | 31
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 复合探测器 (Multiple-sensor) | 2
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 手动报警按钮 (Manual call point) | 3397
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 1271
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 消火栓 (Hydrant) | 1858
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 点型感温探测器 (Point temperature detector) | 4467
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 38861
[question1_guzhangcishu_countP大队 (Fire brigade P)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 1
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 压力开关 (Pressure switch) | 84
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 手动报警按钮 (Manual call point) | 4571
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 3268
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 消火栓 (Hydrant) | 33154
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 点型感温探测器 (Point temperature detector) | 1930
[question1_guzhangcishu_countQ大队 (Fire brigade Q)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 78326
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 部件名称 (Component name) | 故障次数 (Failure number)
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 压力开关 (Pressure switch) | 217
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 手动报警按钮 (Manual call point) | 55
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 8
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 消火栓 (Hydrant) | 29
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 点型感温探测器 (Point temperature detector) | 14
[question1_guzhangcishu_countR大队 (Fire brigade R)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1015