## 报告
报告：成功合并 18 个工作表，失败 1 个，共 122 行数据。
工作簿 | 工作表 | 合并状态 | 合并后的位置
工作簿1 | Sheet1 | 失败：没有数据
question1_wubao_countA大队 (Fire brigade A).xlsx | Sheet1 | 成功 | 总表!B1:C6
question1_wubao_countB大队 (Fire brigade B).xlsx | Sheet1 | 成功 | 总表!B7:C13
question1_wubao_countC大队 (Fire brigade C).xlsx | Sheet1 | 成功 | 总表!B14:C20
question1_wubao_countD大队 (Fire brigade D).xlsx | Sheet1 | 成功 | 总表!B21:C26
question1_wubao_countE大队 (Fire brigade E).xlsx | Sheet1 | 成功 | 总表!B27:C33
question1_wubao_countF大队 (Fire brigade F).xlsx | Sheet1 | 成功 | 总表!B34:C38
question1_wubao_countG大队 (Fire brigade G).xlsx | Sheet1 | 成功 | 总表!B39:C47
question1_wubao_countH大队 (Fire brigade H).xlsx | Sheet1 | 成功 | 总表!B48:C55
question1_wubao_countI大队 (Fire brigade I).xlsx | Sheet1 | 成功 | 总表!B56:C62
question1_wubao_countJ大队 (Fire brigade J).xlsx | Sheet1 | 成功 | 总表!B63:C71
question1_wubao_countK大队 (Fire brigade K).xlsx | Sheet1 | 成功 | 总表!B72:C78
question1_wubao_countL大队 (Fire brigade L).xlsx | Sheet1 | 成功 | 总表!B79:C85
question1_wubao_countM大队 (Fire brigade M).xlsx | Sheet1 | 成功 | 总表!B86:C93
question1_wubao_countN大队 (Fire brigade N).xlsx | Sheet1 | 成功 | 总表!B94:C98
question1_wubao_countO大队 (Fire brigade O).xlsx | Sheet1 | 成功 | 总表!B99:C103
question1_wubao_countP大队 (Fire brigade P).xlsx | Sheet1 | 成功 | 总表!B104:C111
question1_wubao_countQ大队 (Fire brigade Q).xlsx | Sheet1 | 成功 | 总表!B112:C117
question1_wubao_countR大队 (Fire brigade R).xlsx | Sheet1 | 成功 | 总表!B118:C122

## 总表
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 复合探测器 (Multiple-sensor) | 67
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 手动报警按钮 (Manual call point) | 317
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 338
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 点型感温探测器 (Point temperature detector) | 743
[question1_wubao_countA大队 (Fire brigade A)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1849
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 光束感烟 (Light beam smoke) | 13
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 手动报警按钮 (Manual call point) | 290
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 865
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 点型感温探测器 (Point temperature detector) | 503
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 8485
[question1_wubao_countB大队 (Fire brigade B)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 9
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 信号阀 (Signal valve) | 6
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 手动报警按钮 (Manual call point) | 486
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 308
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 点型感温探测器 (Point temperature detector) | 257
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 2915
[question1_wubao_countC大队 (Fire brigade C)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 34
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 光束感烟 (Light beam smoke) | 3
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 手动报警按钮 (Manual call point) | 264
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 171
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 点型感温探测器 (Point temperature detector) | 4
[question1_wubao_countD大队 (Fire brigade D)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 692
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 压力开关 (Pressure switch) | 1
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 手动报警按钮 (Manual call point) | 32
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 176
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 智能光电探测器 (Intelligent photoelectric detector) | 10
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 点型感温探测器 (Point temperature detector) | 111
[question1_wubao_countE大队 (Fire brigade E)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 731
[question1_wubao_countF大队 (Fire brigade F)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countF大队 (Fire brigade F)]Sheet1 | 手动报警按钮 (Manual call point) | 580
[question1_wubao_countF大队 (Fire brigade F)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 36
[question1_wubao_countF大队 (Fire brigade F)]Sheet1 | 点型感温探测器 (Point temperature detector) | 203
[question1_wubao_countF大队 (Fire brigade F)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1866
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 光束感烟 (Light beam smoke) | 7
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 复合探测器 (Multiple-sensor) | 18
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 手动报警按钮 (Manual call point) | 1269
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 2343
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 气体探测器 (Gas detector) | 3
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 点型感温探测器 (Point temperature detector) | 1876
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 52223
[question1_wubao_countG大队 (Fire brigade G)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 1731
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 手动报警按钮 (Manual call point) | 96
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 607
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 气体探测器 (Gas detector) | 17
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 火焰探测器 (Flame detector) | 6
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 点型感温探测器 (Point temperature detector) | 89
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1499
[question1_wubao_countH大队 (Fire brigade H)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 25
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 光束感烟 (Light beam smoke) | 0
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 手动报警按钮 (Manual call point) | 21
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 186
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 点型感温探测器 (Point temperature detector) | 4
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 134134
[question1_wubao_countI大队 (Fire brigade I)]Sheet1 | 点型温烟 (Point type temperature smoke) | 1
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 复合探测器 (Multiple-sensor) | 10
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 手动报警按钮 (Manual call point) | 360
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 2621
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 智能感温 (Intelligent temperature sensing) | 2
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 气体探测器 (Gas detector) | 8
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 点型感温探测器 (Point temperature detector) | 410
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 3085
[question1_wubao_countJ大队 (Fire brigade J)]Sheet1 | 点型点烟 (Point type smoke) | 6
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 复合探测器 (Multiple-sensor) | 13
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 手动报警按钮 (Manual call point) | 148
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 613
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 点型感温探测器 (Point temperature detector) | 24
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 924
[question1_wubao_countK大队 (Fire brigade K)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 12
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 光束感烟 (Light beam smoke) | 1
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 复合探测器 (Multiple-sensor) | 1
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 手动报警按钮 (Manual call point) | 376
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 578
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 点型感温探测器 (Point temperature detector) | 201
[question1_wubao_countL大队 (Fire brigade L)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1652
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 光束感烟 (Light beam smoke) | 1
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 复合探测器 (Multiple-sensor) | 6
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 手动报警按钮 (Manual call point) | 627
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 997
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 点型感温探测器 (Point temperature detector) | 446
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 11533
[question1_wubao_countM大队 (Fire brigade M)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 90
[question1_wubao_countN大队 (Fire brigade N)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countN大队 (Fire brigade N)]Sheet1 | 手动报警按钮 (Manual call point) | 390
[question1_wubao_countN大队 (Fire brigade N)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 846
[question1_wubao_countN大队 (Fire brigade N)]Sheet1 | 点型感温探测器 (Point temperature detector) | 1487
[question1_wubao_countN大队 (Fire brigade N)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 4302
[question1_wubao_countO大队 (Fire brigade O)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countO大队 (Fire brigade O)]Sheet1 | 手动报警按钮 (Manual call point) | 715
[question1_wubao_countO大队 (Fire brigade O)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 0
[question1_wubao_countO大队 (Fire brigade O)]Sheet1 | 点型感温探测器 (Point temperature detector) | 15
[question1_wubao_countO大队 (Fire brigade O)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 749
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 光束感烟 (Light beam smoke) | 12
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 复合探测器 (Multiple-sensor) | 6
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 手动报警按钮 (Manual call point) | 269
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 142
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 点型感温探测器 (Point temperature detector) | 195
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1170
[question1_wubao_countP大队 (Fire brigade P)]Sheet1 | 线型光束感烟探测器 (Linear beam smoke detector) | 21
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 手动报警按钮 (Manual call point) | 171
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 212
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 消火栓 (Hydrant) | 2
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 点型感温探测器 (Point temperature detector) | 14
[question1_wubao_countQ大队 (Fire brigade Q)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 1391
[question1_wubao_countR大队 (Fire brigade R)]Sheet1 | 部件名称 (Component name) | 火警次数 (Number of fire alarms)
[question1_wubao_countR大队 (Fire brigade R)]Sheet1 | 手动报警按钮 (Manual call point) | 36
[question1_wubao_countR大队 (Fire brigade R)]Sheet1 | 智能光电探头 (Intelligent photoelectric probe) | 21
[question1_wubao_countR大队 (Fire brigade R)]Sheet1 | 点型感温探测器 (Point temperature detector) | 13
[question1_wubao_countR大队 (Fire brigade R)]Sheet1 | 点型感烟探测器 (Point smoke detector) | 239